| Site | Priority | Project Description | Status | Estimated Completion Date |
| --- | --- | --- | --- | --- |
| AE |  | Chapter I Bldg- Install Partition | Wall installation complete-Pending installation of door jams | Complete |
| AE | VI | Nurses Office | Doorway to new office | Complete |
| AE |  | Mid-Bldg. | Locker removal | On Hold. |
| AE | IV | Water Supply | Back Flow Prevention, Device installation | Coordinating with Const. office for Contractor. |
| BE |  | Prt.#152 & ADA Accommodation | In Progress | Jan 05 |
| BE |  | Portable #145 & 139 Floor Repair | Schedule in Progress | July 05 |
| CHE | VI | Barracks Bldg. Repairs | Partition for E-Wing office | Complete |
| CHE | IV | Barracks Bldg. Repairs.(East) | Floor has material rot on perimeter walls. | Work in Progress. |
| CHE | IV | Barracks Bldg. Repairs. | Bathroom floor repair Will be identified & prioritized by building mechanic. Pending Barracks | Scheduling in progress |
| CHE | IV | Barracks Bldg. Repairs | Repair porch ceiling | 90% Complete |
| DT |  |  | Various floor covering replacement | complete |
| DT |  | Playground Equipment Relocation | Scheduled to begin December 17, 2004 | Jan 05 |
| LU |  | Irrigation Well | Replumbing for irrigation purposes | Request on hold. |
| LL |  | Fencing Repair / Replacement | Securing Quote | July 05 |
| LM | IV | Barracks/Cafeteria Dining | Need sub floor repairs/renovations. Exterior wall repair/stucco. | Awaiting for direction and funding from CMT. |
| GMS | III |  | Carpet &ceramic tile replacement throughout bldg. | Waiting on Quote from Contractor |
| STM |  | Choir Room | Ceiling, Mechanical & Electrical | Complete |
| GHS | VI | North Bldg. | Doorway cut-need Jam floor repairs | Complete |
| GHS |  | Auto Mechanics Classroom Shop | Install lift (vehicle) | On Hold |
| GHS | IV | Wastewater treatment plant. | Need to replace main transfer pump | Work Scheduled for Nov. 13, 2004 |
| GHS | IV | Swimming pool | Circulation pump is in need to schedule work | Working on Scheduling |
| GHS |  | South side perimeter fence repairs | Replacement-estimated cost $8,000.00 | On hold for next years funding (SB-9) |
| GHS |  | Main Bldg- | Install Partition Room 126 | Jan 05` |
| STHS | IV | Replacement lockers for fire damaged unit | Will relocate units from Anthony Mid Bldg. | Est. Comp. Date Aug 31, 2004 |
| Motor Vehicle Shop |  |  | Complete Shop Expansion | On hold |
| Motor Vehicle Shop |  | Auto Shop Supervisor | Build Office for Supervisor ( Transportation Clerk is in current office) | On hold |
| DP | III | Conference room portable | Install partition in conference room portable. As per Mr. Y, partition not needed | Material on order Aug 31, 2004 |
| DP | IV | Portables | Install water fountain in all portables | Work request under review |
| GAC | VI | Building Repairs | Miscellaneous mechanical & electrical repairs | In progress |
| GAC |  | Site mobile home installation | Scheduled to be delivered Nov. 2, 2004. | Utility connections will follow. |