| Site | Priority | Project Description | Status | Estimated Completion Date |
| --- | --- | --- | --- | --- |
| AE |  | Mid-Bldg. | Locker removal | On Hold. |
| AE | IV | Water Supply | Back Flow Prevention, Device installation | Coordinating with Const. office for Contractor. |
| BE |  | Portable #145 & 139 Floor Repair | Schedule in Progress | July 05 |
| CHE | IV | Barracks Bldg. Repairs.(East) | Floor has material rot on perimeter walls. | Work in Progress. |
| CHE | IV | Barracks Bldg. Repairs. | Bathroom floor repair Will be identified & prioritized by building mechanic. | Scheduling in progress |
| CHE | IV | Barracks Bldg. Repairs | Repair porch ceiling | 90% Complete |
| DT |  | Wastewater System Pump Replacement | Working on Scheduling | Complete |
| LU |  | Irrigation Well | Replumbing for irrigation purposes | Request on hold. |
| LL |  | Fencing Repair / Replacement | Securing Quote | July 05 |
| LM | IV | Barracks/Cafeteria Dining | Need sub floor repairs/renovations. Exterior wall repair/stucco. | Awaiting for direction and funding from CMT. |
| GMS | III |  | Carpet &ceramic tile replacement throughout bldg. | Waiting on Quote from Contractor |
| GHS | IV | Swimming pool | Circulation pump is in need to schedule work | Complete |
| GHS |  | Site Mobile Home Installation | Gas hook up-pending. Heater installation by owner. | Complete |
| STMS |  | New Fed. Program Portable | Preparing site to receive unit | In Progress |
| STHS | IV | Replacement lockers for fire damaged unit | Will relocate units from Anthony Mid Bldg. | Pending on Scheduling |
| Motor Vehicle Shop |  |  | Complete Shop Expansion | On hold |
| Motor Vehicle Shop |  | Auto Shop Supervisor | Build Office for Supervisor ( Transportation Clerk is in current office) | 75% complete |
| DP | IV | Portables | Install water fountain in all portables | Pending floor plan for location from Mr. Y |
| GAC |  | C-Wing | Remodel Offices into workroom | Schedule in Progress |